## Home
Kertas Kerja Perhitungan Efektifitas BAT
| Unit Pembangkit |  |  | : | UBJOM Tanjung Awar - Awar
| Lokasi |  |  | : | Tanjung Awar Awar - Tuban
| Tipe Pembangkit |  |  | : | Pembangkit Listrik Tenaga Uap
| Kapasitas |  |  | : | 2 x 350 MW
| Date |  |  | : | {{ home.date }}
UNIT#1 | [9 empty] | UNIT#2
| Enable Hours Modul BAT | [6 empty] | : | {{ home.L11 }} |  | Enable Hours Modul BAT |  |  | : | {{ home.Y11 }}
| Periode Hours | [6 empty] | : | {{ home.L13 }} |  | Periode Hours |  |  | : | {{ home.Y13 }}
| Durasi Pengurang Periode Hours | [6 empty] | : | {{ home.L15 }} |  | Durasi Pengurang Periode Hours |  |  | : | {{ home.Y15 }}
| a. | Gangguan Unit | [5 empty] | : | {{ home.L16 }} |  | a. | Gangguan Unit |  | : | {{ home.Y16 }}
|  | a.1 | Perbaikan equipment terkait BAT (Status Waiting Unit Shutdown/Sistem BAT outservice) |  |  |  |  | : | {{ home.L17 }} |  |  | a.1 | Perbaikan equipment terkait BAT (Status Waiting Unit Shutdown/Sistem BAT outservice) | : | {{ home.Y17 }}
|  | a.2 | Maintenance Modul BAT yang membutuhkan Modul disable |  |  |  |  | : | {{ home.L18 }} |  |  | a.2 | Maintenance Modul BAT yang membutuhkan Modul disable | : | {{ home.Y18 }}
| b. | Load < 70% | [5 empty] | : | {{ home.L19 }} |  | b. | Load < 70% |  | : | {{ home.Y19 }}
| c. | Pelaksanaan Uji Performance Test Unit | [5 empty] | : | {{ home.L20 }} |  | c. | Pelaksanaan Uji Performance Test Unit |  | : | {{ home.Y20 }}
| d. | Coal Flow Maksimal / Operation Limitation | [5 empty] | : | {{ home.L21 }} |  | d. | Coal Flow Maksimal / Operation Limitation |  | : | {{ home.Y21 }}
| Waktu disable oleh operator | [6 empty] | : | {{ home.L23 }} |  | Waktu disable oleh operator |  |  | : | {{ home.Y23 }}
| Available Hours (Efektif) | [6 empty] | : | {{ home.L25 }} |  | Available Hours (Efektif) |  |  | : | {{ home.Y25 }}
| Efektifitas Modul BAT |  |  | = | Jumlah Enable Hours Modul BAT |  |  | x | 100%
Jumlah Available Hours (Efektif) Modul BAT
|  |  |  | = | {{ home.G32 }} | x | 100%
{{ home.G33 }}
|  |  |  | = | {{ home.G35 }}

## 1
[5 empty] | SISTEM PENGOPTIMUMAN KEANDALAN & EFISIENSI TERINTEGRASI (SOKET) | [7 empty] | Form No. | Date
{{ home.date }}
[13 empty] | Report No. | Page
of
Project No.:
[5 empty] | C l i e n t : |  | PT. Pembangkit Jawa Bali
DAILY REPORT MONITORING BOILER AUTO TUNING
Unit Pembangkit |  |  |  |  | : | UBJOM Tanjung Awar Awar
Lokasi |  |  |  |  | : | Tanjung Awar Awar
Tipe Pembangkit |  |  |  |  | : | Pembangkit Listrik Tenaga Uap
Kapasitas |  |  |  |  | : | 2 x 350 MW
Area |  |  |  |  | : | {{ s1.unit }}
Sub Area |  |  |  |  | : | Boiler
Tanggal |  |  |  |  | : | {{ home.date }}
NO. |  | ITEM TO CHECK | [7 empty] | ENABLE | DISABLE |  | REMARKS
1 |  | Boiler Auto Tuning Enable Status | [6 empty] | Min | {{ s1.U23 }} | {{ s1.AD23 }}
|  |  | Sootblow Optimization Enable Status | [5 empty] | Min | {{ s1.U24 }} | {{ s1.AD24 }}
|  |  | Combustion Optimization Enable Status | [5 empty] | Min | {{ s1.U25 }} | {{ s1.AD25 }}
2 |  | Impossible Condition to Enable
|  |  | - | WatchdogStatus |  |  |  |  | Min
|  |  | Sootblow Optimization Safeguard Violated | [5 empty] | Min
|  |  | - | {{ s1.F30 }} |  |  |  |  | Min | {{ s1.U30 }} | {{ s1.AD30 }}
|  |  | - | {{ s1.F31 }} |  |  |  |  | Min | {{ s1.U31 }} | {{ s1.AD31 }}
|  |  | - | {{ s1.F32 }} |  |  |  |  | Min | {{ s1.U32 }} | {{ s1.AD32 }}
|  |  | - | {{ s1.F33 }} |  |  |  |  | Min | {{ s1.U33 }} | {{ s1.AD33 }}
|  |  | Combustion Optimization Safeguard Violated | [5 empty] | Min
|  |  | - | {{ s1.F35 }} |  |  |  |  | Min | {{ s1.U35 }} | {{ s1.AD35 }}
|  |  | - | {{ s1.F36 }} |  |  |  |  | Min | {{ s1.U36 }} | {{ s1.AD36 }}
|  |  | - | {{ s1.F37 }} |  |  |  |  | Min | {{ s1.U37 }} | {{ s1.AD37 }}
|  |  | - | {{ s1.F38 }} |  |  |  |  | Min | {{ s1.U38 }} | {{ s1.AD38 }}
|  |  | - | {{ s1.F39 }} |  |  |  |  | Min | {{ s1.U39 }} | {{ s1.AD39 }}
|  |  | - | {{ s1.F40 }} |  |  |  |  | Min | {{ s1.U40 }} | {{ s1.AD40 }}
|  |  | - | {{ s1.F41 }} |  |  |  |  | Min | {{ s1.U41 }} | {{ s1.AD41 }}
|  |  | - | {{ s1.F42 }} |  |  |  |  | Min | {{ s1.U42 }} | {{ s1.AD42 }}
|  |  | - | {{ s1.F43 }} |  |  |  |  | Min | {{ s1.U43 }} | {{ s1.AD43 }}
|  |  | - | {{ s1.F44 }} |  |  |  |  | Min | {{ s1.U44 }} | {{ s1.AD44 }}
|  |  | - | {{ s1.F45 }} |  |  |  |  | Min | {{ s1.U45 }} | {{ s1.AD45 }}
|  |  | - | {{ s1.F46 }} |  |  |  |  | Min | {{ s1.U46 }} | {{ s1.AD46 }}
|  |  | - | {{ s1.F47 }} |  |  |  |  | Min | {{ s1.U47 }} | {{ s1.AD47 }}
|  |  | - | {{ s1.F48 }} |  |  |  |  | Min | {{ s1.U48 }} | {{ s1.AD48 }}
|  |  | - | {{ s1.F49 }} |  |  |  |  | Min | {{ s1.U49 }} | {{ s1.AD49 }}
|  |  | - | {{ s1.F50 }} |  |  |  |  | Min | {{ s1.U50 }} | {{ s1.AD50 }}
|  |  | - | {{ s1.F51 }} |  |  |  |  | Min | {{ s1.U51 }} | {{ s1.AD51 }}
|  |  | - | {{ s1.F52 }} |  |  |  |  | Min | {{ s1.U52 }} | {{ s1.AD52 }}
3 |  | Total Possible Condition Time | [6 empty] | Min | {{ s1.U54 }} | {{ s1.AD54 }}
|  |  | - | Sootblow Optimization |  |  |  |  | Min | {{ s1.U55 }} | {{ s1.AD55 }}
|  |  | - | Combustion Optimization |  |  |  |  | Min | {{ s1.U56 }} | {{ s1.AD56 }}
4 |  | Percentage of BAT Enabled | [6 empty] | % | {{ s1.U58 }} | {{ s1.AD58 }}
|  |  | Percentage of Sootblow Optimization Enabled | [5 empty] | % | {{ s1.U59 }} | {{ s1.AD59 }}
|  |  | Percentage of Combustion Optimization Enabled | [5 empty] | % | {{ s1.U60 }} | {{ s1.AD60 }}
Remarks : |  |  |  | {{ s1.F64 }}
|  |  |  | Prepared by |  |  |  | Checked by |  |  |  | Witnessed / Approved by
PT . SARANA MAJU LESTARI
Name
Signature
Date

## 2
[5 empty] | SISTEM PENGOPTIMUMAN KEANDALAN & EFISIENSI TERINTEGRASI (SOKET) | [7 empty] | Form No. | Date
{{ home.date }}
[13 empty] | Report No. | Page
of
Project No.:
[5 empty] | C l i e n t : |  | PT. Pembangkit Jawa Bali
DAILY REPORT MONITORING BOILER AUTO TUNING
Unit Pembangkit |  |  |  |  | : | UBJOM Tanjung Awar Awar
Lokasi |  |  |  |  | : | Tanjung Awar Awar
Tipe Pembangkit |  |  |  |  | : | Pembangkit Listrik Tenaga Uap
Kapasitas |  |  |  |  | : | 2 x 350 MW
Area |  |  |  |  | : | {{ s2.unit }}
Sub Area |  |  |  |  | : | Boiler
Tanggal |  |  |  |  | : | {{ home.date }}
NO. |  | ITEM TO CHECK | [7 empty] | ENABLE | DISABLE |  | REMARKS
1 |  | Boiler Auto Tuning Enable Status | [6 empty] | Min | {{ s2.U23 }} | {{ s2.AD23 }}
|  |  | Sootblow Optimization Enable Status | [5 empty] | Min | {{ s2.U24 }} | {{ s2.AD24 }}
|  |  | Combustion Optimization Enable Status | [5 empty] | Min | {{ s2.U25 }} | {{ s2.AD25 }}
2 |  | Impossible Condition to Enable
|  |  | - | WatchdogStatus |  |  |  |  | Min
|  |  | Sootblow Optimization Safeguard Violated | [5 empty] | Min
|  |  | - | {{ s2.F30 }} |  |  |  |  | Min | {{ s2.U30 }} | {{ s2.AD30 }}
|  |  | - | {{ s2.F31 }} |  |  |  |  | Min | {{ s2.U31 }} | {{ s2.AD31 }}
|  |  | - | {{ s2.F32 }} |  |  |  |  | Min | {{ s2.U32 }} | {{ s2.AD32 }}
|  |  | - | {{ s2.F33 }} |  |  |  |  | Min | {{ s2.U33 }} | {{ s2.AD33 }}
|  |  | Combustion Optimization Safeguard Violated | [5 empty] | Min
|  |  | - | {{ s2.F35 }} |  |  |  |  | Min | {{ s2.U35 }} | {{ s2.AD35 }}
|  |  | - | {{ s2.F36 }} |  |  |  |  | Min | {{ s2.U36 }} | {{ s2.AD36 }}
|  |  | - | {{ s2.F37 }} |  |  |  |  | Min | {{ s2.U37 }} | {{ s2.AD37 }}
|  |  | - | {{ s2.F38 }} |  |  |  |  | Min | {{ s2.U38 }} | {{ s2.AD38 }}
|  |  | - | {{ s2.F39 }} |  |  |  |  | Min | {{ s2.U39 }} | {{ s2.AD39 }}
|  |  | - | {{ s2.F40 }} |  |  |  |  | Min | {{ s2.U40 }} | {{ s2.AD40 }}
|  |  | - | {{ s2.F41 }} |  |  |  |  | Min | {{ s2.U41 }} | {{ s2.AD41 }}
|  |  | - | {{ s2.F42 }} |  |  |  |  | Min | {{ s2.U42 }} | {{ s2.AD42 }}
|  |  | - | {{ s2.F43 }} |  |  |  |  | Min | {{ s2.U43 }} | {{ s2.AD43 }}
|  |  | - | {{ s2.F44 }} |  |  |  |  | Min | {{ s2.U44 }} | {{ s2.AD44 }}
|  |  | - | {{ s2.F45 }} |  |  |  |  | Min | {{ s2.U45 }} | {{ s2.AD45 }}
|  |  | - | {{ s2.F46 }} |  |  |  |  | Min | {{ s2.U46 }} | {{ s2.AD46 }}
|  |  | - | {{ s2.F47 }} |  |  |  |  | Min | {{ s2.U47 }} | {{ s2.AD47 }}
|  |  | - | {{ s2.F48 }} |  |  |  |  | Min | {{ s2.U48 }} | {{ s2.AD48 }}
|  |  | - | {{ s2.F49 }} |  |  |  |  | Min | {{ s2.U49 }} | {{ s2.AD49 }}
|  |  | - | {{ s2.F50 }} |  |  |  |  | Min | {{ s2.U50 }} | {{ s2.AD50 }}
|  |  | - | {{ s2.F51 }} |  |  |  |  | Min | {{ s2.U51 }} | {{ s2.AD51 }}
|  |  | - | {{ s2.F52 }} |  |  |  |  | Min | {{ s2.U52 }} | {{ s2.AD52 }}
3 |  | Total Possible Condition Time | [6 empty] | Min | {{ s2.U54 }} | {{ s2.AD54 }}
|  |  | - | Sootblow Optimization |  |  |  |  | Min | {{ s2.U55 }} | {{ s2.AD55 }}
|  |  | - | Combustion Optimization |  |  |  |  | Min | {{ s2.U56 }} | {{ s2.AD56 }}
4 |  | Percentage of BAT Enabled | [6 empty] | % | {{ s2.U58 }} | {{ s2.AD58 }}
|  |  | Percentage of Sootblow Optimization Enabled | [5 empty] | % | {{ s2.U59 }} | {{ s2.AD59 }}
|  |  | Percentage of Combustion Optimization Enabled | [5 empty] | % | {{ s2.U60 }} | {{ s2.AD60 }}
Remarks : |  |  |  | {{ s2.F64 }}
|  |  |  | Prepared By |  |  |  | Checked by |  |  |  | Witnessed / Approved by
PT . SARANA MAJU LESTARI
Name
Signature
Date